## Slide 1: L-shape pixel
Original profile
Reconstructed profile
Difference

## Slide 2: Performance of the ONERA reconstruction algorithm
INTRAPIX project
02/10/2018

## Slide 3: Simulation of the experimental interferogram
Pixel profile
CSIG polychromatic PSF
Pinhole
profile
Convolution
Interferogram
Interferogram seen by
the detector (undersampled)
Adding random noise
CSIG
translation…

## Slide 4: Squared Pixel
a0 = 380 μm
Original
Reconstructed
Absolute difference

## Slide 5: Squared Pixel with defect
a0 = 380 μm
Original
Reconstructed
Absolute difference

## Slide 6: L-shape pixel
a0 = 380 μm
Original
Reconstructed
Absolute difference

## Slide 7: Question…
Are the high frequencies not well reconstructed?
We can investigate this question by suppressing the high-frequency components of the input pixel profile (for example by applying a Gaussian convolution)

## Slide 8: L-shape pixel
a0 = 380 μm
smooth: α = 0.8
→ σ = 0.79 μm
Original
Reconstructed
Absolute difference

## Slide 9: In the Fourier domain…
Looking at the Module Transfer Function …
νc = 2η / a0 = 0.5104 μm-1
but the sampling operation introduce a practical limitation:
ν < M / 2 * psampling = 0.5 μm-1

## Slide 10: Possible investigation
Since the frequency domain cannot be extended, the CSIG Module Spread Function can be shrunk.
We can take for example a0 = 500 μm

## Slide 11: … and relative limitation
However, the comparison with not be straightforward. The ONERA reconstruction algorithm seems considering a PSF-region fixed to 2 x 380 μm. In the case of 500 μm, it corresponds to about only 1.5 of the fundamental PSF pattern…

## Slide 12: L-shape pixel
No smoothing
a0 = 500 μm
a0 = 380 μm

## Slide 13: L-shape pixel
smooth: α = 2
→ σ = 0.5 μm
a0 = 500 μm
a0 = 380 μm

## Slide 14: L-shape pixel
smooth: α = 0.8
→ σ = 0.79 μm
a0 = 500 μm
a0 = 380 μm

## Slide 15: Signal-to-noise ratio performance
snr = 500
snr = 250
snr = 100
snr = 180